Safety shower head

Reference: 9225

CCTP description

Round safety shower head, Ø 250mm M1" in green, shockproof ABS.

Flow rate 70 lpm at 1 bar dynamic pressure (120 lpm at 3 bar dynamic pressure).

Water supply F1".

10-year warranty.