Twin hole pre-rinse set

Reference: G6533

CCTP description

Complete pre-rinse set without bib tap.

Deck-mounted twin hole mixer with adjustable centres 100 - 240mm with:

- Valve heads with control knobs.

- Off-set inlet connections with M1/2" tails.

White, scale-resistant M1/2" hand spray with adjustable spray and 9 lpm flow rate at the outlet.

White, reinforced, food-grade flexible hose L. 95cm.

3/4" brass column.

Adjustable wall bracket.

Stainless steel spring guide.

10-year warranty.

These pre-rinse sets can be installed close to the splashback.